Using FLIMfit with OMERO

FLIMfit is a software tool that is designed to facilitate analysis and visualisation of time-resolved data from FLIM (Fluorescence Lifetime Imaging) measurements including time-correlated single photon counting (TCSPC) and wide-field time-gated imaging.

This is a tutorial-based workflow which describes the steps required to fit a bi-exponential model to the data from a single time-correlated single-photon counting (TCSPC) data file using the FLIMfit application when an Instrument Response Function (IRF) is available. It then explains how to perform a fit on a multi-file dataset. The example files are Becker & Hickl GmbH .sdt files.

FLIMfit can connect to OMERO to load data directly from the OMERO server, or work with local files. To use the data with OMERO, download the example files as a Zip archive from:

http://downloads.openmicroscopy.org/help/resources/flimfit/example-files.zip  (47.4 MB)

Unzip the archive and import the following folders to the OMERO server, letting OMERO create new datasets from the folder, i.e. use default “New from Folder” for importing:

- IRF-in-file (contains the single data file and the corresponding IRF file)

- Multiple (contains the multiple data files and the corresponding IRF file)

Details on how to import data to OMERO are described in the Importing Data section (http://help.openmicroscopy.org/importing-data-5.html).

For a list of file formats supported by FLIMfit see:

http://www.openmicroscopy.org/site/support/partner/flimfit/flimfit-supported-file-formats

Installing FLIMfit

1	Use the link below to go to the FLIMfit downloads page.

Click on the link under Latest Version to go to the downloads page for that version.

http://flimfit.org/downloads/

.. image:: /images/flimfitDownloads.jpg

:width: 100%

:align: center

2	On Windows, the FLIMfit installer will automatically handle the MCR installation.

Mac OS X users need to download and install the Matlab MCR from the downloads page for the FLIMfit version being used.

This is required to ensure the correct version compatibility with FLIMfit.

Mac OS X:

.. image:: /images/flimfitMCR.jpg

:width: 95%

:align: right

3	Expand the FLIMfit client archive and run the installer.

Windows:

.. image:: /images/flimfitWin.jpg

:width: 95%

:align: right

Mac OS X:

.. image:: /images/flimfitMac.jpg

:width: 100%

:align: right

Using FLIMfit with OMERO

1	Open FLIMfit.

.. image:: /images/flimfitRun.jpg

:width: 100%

:align: center

2	Click on the **OMERO** menu and select the **Log in to OMERO** item.

Enter the OMERO server address, port number, user name and password.

Click **Logon**.

.. image:: /images/flimfitOMERO.jpg

:width: 100%

:align: center

3	Click on the **OMERO** menu and select **Load FLIM data**.

The OMERO data tree will be displayed in a pop-up window.

Select the file:

convalaria ex 740nm 2 min.sdt

Click **Open**.

.. image:: /images/flimfitOMEROLoad.jpg

:width: 100%

:align: center

Loading data from disk

1	If loading a file from disk, click on the **File** menu and select **Load FLIM Data...**.

Select the file:

convalaria ex 740nm 2 min.sdt

.. image:: /images/flimfitLoadData.jpg

:width: 100%

:align: center

Fitting data - single image

1	A greyscale intensity image of a pollen grain is visible in the upper part of the left-hand pane.

Click on any pixel.

The **Decay** tab to the right should be selected by default.

A plot of the time-resolved data in that pixel can be seen.

Choose a relatively bright region of the image to see a good example of a plot.

.. image:: /images/flimfitDecay.jpg

:width: 100%

:align: center

2	Click the **OMERO** menu and select **Load IRF** to load the IRF image from OMERO.

In the left-hand pane, select the file:

nanorods ex 740 nm 2 min.sdt

Click the **Open**

.. image:: /images/flimfitOMEROIRF.jpg

:width: 100%

:align: center

3	To load the IRF image from disk click the **IRF** menu and select **Load IRF...**.

.. image:: /images/flimfitIRF.jpg

:width: 100%

:align: center

4		The IRF data will be superimposed as a red line on the plot in the **Decay** tab.

.. image:: /images/flimfitIRFNano.jpg

:width: 100%

:align: center

5	Set the **Integrated Min** to 90 to exclude the dark areas of the image.

This colours the areas below the threshold red.

Click **Fit Selected Decay**.

A broken blue line appears in the fitted model.

Normalised Residuals are displayed below data.

.. image:: /images/flimfitMin90.jpg

:width: 100%

:align: center

6	By eye, the fit resulting from the default, single exponential, setting does not provide a good fit to this data.

To try a bi-exponential fit, increase the **No Expo** to **2** and click **Fit Selected Decay**.

The fit of the broken blue line should then look acceptable.

Confirm this by selecting a few different pixels.

When confirmed, click **Fit Dataset**.

The blue line becomes solid when the dataset has been fitted.

.. image:: /images/flimfitExp2.jpg

:width: 100%

:align: center

7	The decay plot can be saved as an image, and the data as a CSV file.

When connected to OMERO the image can be saved to the OMERO server.

Right-click on the plot, select **Save as...**.

Select the destination dataset in the data tree and image format from the drop-down.

Click **Save to save the image on the OMERO server. **

If not connected to OMERO, right-click and **Save as...** will save to disk.

Right-click and select **Export Data...** to save the data as a CSV file to disk.

Use OMERO to upload the file as an attachment.

.. image:: /images/flimfitSavePlot.jpg

:width: 100%

:align: center

Viewing Results

1	When the Fit Dataset processing is complete, select the **Images** tab.

At the top right, check the box in the first column of the **tau_1** row.

A false-colour image will be displayed showing the fitted parameter, in this example one of the lifetimes, encoded as the colour at each pixel, along with a scale bar.

.. image:: /images/flimfitImage1.jpg

:width: 100%

:align: center

2	Check the box in the second column of the **tau_1** row.

A second image is displayed using the same false colour map but weighted (in greyscale) according to the total intensity at that pixel.

This de-emphasises the dimmer, i.e. noisier, pixels and displays the structural information in the intensity image alongside the lifetime information.

.. image:: /images/flimfitImage2.jpg

:width: 100%

:align: center

3	Select the **Histogram** tab.

In the **Parameter** drop-down, select **tau_1**.

.. image:: /images/flimfitHistogram1.jpg

:width: 100%

:align: center

4	The histogram of the fitted parameter has bars coloured to match the display in the **Images** tab.

Right-click on the white background of the histogram and select **Save as...** to save the histogram as an image.

When connected to OMERO this can be saved to the OMERO server.

Select the destination dataset in the data tree and image format from the drop-down.

Click **Save**.

If not connected to OMERO, right-click and **Save as...** will save to disk.

.. image:: /images/flimfitHistogram2.jpg

:width: 100%

:align: center

5	Uncheck the **Auto** checkbox in the right-hand column of the tau_1 row.

This enables manual control of the range of lifetimes over which the colour map is stretched.

Adjust the values in the **Min** and **Max** columns to observe the effect on the histogram.

This allows emphasis of chosen features e.g. a small change in lifetime in a chosen part of the image.

.. image:: /images/flimfitAuto.jpg

:width: 100%

:align: center

6	Click on the **Images** tab to see the changes.

.. image:: /images/flimfitImage3.jpg

:width: 100%

:align: center

7	From the **OMERO** menu, select **Export Images...** to save selected images to OMERO.

From the **File** menu, select **Export Images...** to save selected images to disk.

Select **Export Histograms...** to save the histogram data to disk as a CSV file.

.. image:: /images/flimfitExport.jpg

:width: 100%

:align: center

8	Select the **Parameters** tab to see a table of the mean values of all the fitted parameters.

Using the **Statistic** drop-down, select **Std** to display the Standard Deviations.

.. image:: /images/flimfitParameters.jpg

:width: 100%

:align: center

Fitting data - multiple images

Using OMERO, attach the IRF 2013-05-22-T-15-36-21.irf file from the Multiple folder in the downloaded data example to the Multiple dataset created earlier.

See http://help.openmicroscopy.org/managing-data.html#attach for details on attaching files.

1	Back in FLIMfit, click on the **OMERO** menu and select **Load FLIM data from a dataset**.

The OMERO data tree will be displayed in a pop-up window.

Select the Multiple dataset and click **Open**.

.. image:: /images/flimfitMultiOpen.jpg

:width: 100%

:align: center

2	Each file in this data contains two separate images, indicated by the suffixes ending in [...#1] and [...#2].

For this example only the first image of each pair should be loaded.

Enter 2] into the **Filter by name** field.

Click **Deselect**.

.. image:: /images/flimfitMultiSelect1.jpg

:width: 100%

:align: center

3	This leaves just the images with the [...#1] suffix selected.

Click **Load Selected**.

The ZCT_selection window shows the data being loaded is 2-channel.

**Channel:0** is selected by default.

Click **Load Selected** in this window.

.. image:: /images/flimfitMultiSelect2.jpg

:width: 100%

:align: center

4	To load the IRF for the multiple FOVs from the attachment on the dataset, select the **OMERO** menu and choose **Load IRF ...**.

In the left-hand pane of the window, select the folder:	Multiple

In the right-hand pane select the attachment:  IRF 2013-05-22-T-15-36-21.irf

Click **Open**.

The IRF data will be visible as a red peak on the plot in the **Decay** tab.

.. image:: /images/ flimfitMultiIDR.jpg

:width: 100%

:align: center

5	To load the multiple file data from local disk, click on the **File** menu and select **Load FLIM Dataset** in both levels of the menu.

In the file chooser select the folder:	Multiple.

Click **Select Folder**.

.. image:: /images/flimfitMultiOpenDisk.jpg

:width: 100%

:align: center

6	In the dataset selection window, click **Load Selected**.

In the following window select the **0** set of images.

Click **OK**.

.. image:: /images/flimfitMultiOpenDisk2.jpg

:width: 100%

:align: center

7	Set the **Integrated Min** to 90 to exclude the dark areas of the image.

Select ** 2** in the **No Expo** drop-down.

Click **Fit Dataset**.

Normalised Residuals are displayed below data.

.. image:: /images/flimfitMultiSettings.jpg

:width: 100%

:align: center

8	Select the **Gallery** tab when fitting is complete.

Select **mean_tau** from the **Image** drop-down at the bottom left of the **Gallery** tab.

Right-click on the gallery and select **Save as...** to save the gallery as an image to OMERO.

.. image:: /images/flimfitGallery.jpg

:width: 100%

:align: center

9	Select the **Plotter** tab.

Select **mean_tau** from the **Parameter** drop-down at the bottom left of the **Plotter** tab.

Right-click on the plot and select **Save as...** to save the as an image to OMERO.

Select **Export Data...** to save the plot data as CSV file.

.. image:: /images/flimfitPlot.jpg

:width: 100%

:align: center

Other OMERO interactions

Changing OMERO user

1	To load data owned by another user in your OMERO group select the **OMERO** menu.

Navigate to **Set User...**.

Select the **Connect to another user...**.

In the dialog, select the user whose data you wish to load.

Click **OK**.

When loading data you will now see this user’s data tree to select data from.

Use the same process to return to selecting from your own data.

.. image:: /images/flimfitOMEROUser.jpg

:width: 100%

:align: center

Other available functionality

2	The **OMERO** menu offers a number of other options for working with data from OMERO, and saving data and results back to the server.

.. image:: /images/flimfitOMEROMenu.jpg

:width: 100%

:align: center

Working with local data and disks

3	The **File** menu offers all the load, save and export functionality for using data without connecting to OMERO, and for saving results and images back to local disks.

.. image:: /images/flimfitFileMenu.jpg

:width: 100%

:align: center

# Text boxes

Warning:	When running the Matlab MCR installer on Mac OS X the install wizard will give a message:

“On the target computer, append the following to your DYLD_LIBRARY_PATH environment variable:

/Applications/MATLAB/MATLAB_Compiler_Runtime/v84/runtime/maci64:/Applications/MATLAB/MATLAB_Compiler_Runtime/v84/sys/os/maci64:/Applications/MATLAB/MATLAB_Compiler_Runtime/v84/bin/maci64:”

Ignore this - the application will do it for you at run-time.

Note:	A brief aside on Instrument Response Function (IRF)

In order to fit a model, FLIMfit requires some information about the system on which the data was acquired. It can get this information from what is referred to as an IRF - the system’s response to a known input.

In this example the IRF is read from a second .sdt file acquired on the same system, on the same day, as the pollen grain image. This is an image of a sample of gold nanorods. These have the convenient property of re-emitting the laser excitation pulse across a wide range of wavelengths. They therefore provide a pulse of light, of known (very short) duration, at the correct wavelength to pass into the detection channel.